## Overview
Instructions |  |  | Status
-All cells for input have an orange background. -Cells, sections and worksheets have an overall status. The status cells have a blue background. -For sections which require an image or schematic, The image should be pasted and located over the specified area. Images should be pasted at a high resolution and then resized. This allows the reader to zoom into the image if more resolution is required. -Where datasheets are requested, a hyperlink to the datasheet from the manufacturer must be provided. -Additional Comments sections are provided throughout for documentation of things which the team feels are not adequately documented in the provided fields. These are optional and do not need to be completed. |  |  | Datasheets | BLANK
|  |  | TS Schematics | BLANK
|  |  | Accumulator | BLANK
|  |  | Precharge/Discharge | BLANK
|  |  | Charging | BLANK
|  |  | Shutdown Circuit | BLANK
|  |  | Torque Security | BLANK
|  |  | Other | BLANK
Team Name
University
|  |  | Competition Year | 2020
Additional Comments
Template Revision History
Version | Date | Comment
1.0 | 2019-11-26 | Initial Release
1.1 | 2019-12-12 | Fixed issue in Accumulator cell F64

## Datasheets
| Status | BLANK
| Battery Cell |  |  |  | BLANK
Make
Model
| Nominal Capacity |  |  | Ahr
| Maximum Voltage |  |  | V
| Nominal Voltage |  |  | V
| Minimum Voltage |  |  | V
| Max output current |  |  | A
| Max continuous current |  |  | A
| Max Cell temp |  |  | C
Cell Chemistry
Datasheet
SDS
Additional Comments
| Conductors | [7 empty] | BLANK
| Manufacturer | Model | Size [mm2] | Voltage [V] | Ampacity [A] | Max Temp [C] | Datasheet |  |  | Additional Comments
BLANK
Fuses | Fuses | [7 empty] | BLANK
Manufacturer Model | Manufacturer | Model | Voltage [V] | AC/DC | Current [A] | Interrupt [A] | Datasheet |  |  | Additional Comments
BLANK
Resistors | Resistors | [9 empty] | BLANK
Manufacturer Model | Manufacturer | Model | Voltage [V] | Resistance [Ω] | Power [W] | Power for 15 sec [W] | Heatsink |  |  | Datasheet |  | Additional Comments
BLANK
Contactors/Relays | Contactors/Relays | [6 empty] | BLANK
Manufacturer Model | Manufacturer | Model | Voltage [V] | Continuous Current [A] | Max Interrupt Current [A] | Datasheet |  |  | Additional Comments
BLANK
Connectors | Connectors | [6 empty] | BLANK
Manufacturer Model | Manufacturer | Model | Voltage [V] | Ampacity [A] | Wire Size [mm2] | Datasheet |  |  | Additional Comments
BLANK
Insulating Materials | Insulating Materials | [6 empty] | BLANK
Manufacturer Model | Manufacturer | Model | Thickness [mm] | Dielectric strength [V/mm] | Voltage Rating [V] | Datasheet |  |  | Additional Comments
BLANK

## TS Schematics
Status | BLANK
Tractive System Schematic | [9 empty] | Accumulator TS Schematic | [9 empty] | Additional Comments
Vehicle Tractive System Schematic Shows | [7 empty] | BLANK |  | Accumulator TS Schematic Shows | [7 empty] | BLANK
Shows details of all TS circuits outside of accumulator | [7 empty] | BLANK |  | Details of all TS circuits within accumulator | [7 empty] | BLANK
Accumulator is shown as a single element (without internal details) | [7 empty] | BLANK |  | All wire gauges labeled | [7 empty] | BLANK
All wire gauges labeled | [7 empty] | BLANK |  | All fuses labeled with ampacity | [7 empty] | BLANK
All fuses labeled with ampacity | [7 empty] | BLANK |  | Fuse locations represent physical location | [7 empty] | BLANK
Fuse locations represent physical location | [7 empty] | BLANK |  | Connectors labeled with Make/Model | [7 empty] | BLANK
Enclosures shown | [7 empty] | BLANK |  | Standard schematic symbols used | [7 empty] | BLANK
Connectors labeled with Make/Model | [7 empty] | BLANK |  | All text is readable (zooming is allowed) | [7 empty] | BLANK
Standard schematic symbols used | [7 empty] | BLANK |  | AIRs | [7 empty] | BLANK
All text is readable (zooming is allowed) | [7 empty] | BLANK |  | Maintenance plugs | [7 empty] | BLANK
TSMPs | [7 empty] | BLANK |  | Cells (details of all intercell connections may be abstracted) | [7 empty] | BLANK
Motor Controller | [7 empty] | BLANK
Motor | [7 empty] | BLANK
TSMPs not fused | [7 empty] | BLANK
Must be shown on at least one schematic | [7 empty] | BLANK
IMD | [7 empty] | BLANK
HVD | [7 empty] | BLANK
Precharge | [7 empty] | BLANK
Discharge | [7 empty] | BLANK
Energy Meter | [7 empty] | BLANK
Precharge is not fused | [7 empty] | BLANK
Discharge is not fused | [7 empty] | BLANK
Tractive System Wiring Fusing Table | [24 empty] | BLANK
End 1 | [5 empty] | End 2 | [5 empty] | Wire |  |  |  | Fuse |  |  |  |  | Unfused length (between source and fuse) [mm] | Checks |  |  |  | Additional Comments
Device |  | Connector |  |  |  | Device | Connector | [14 empty] | Voltage Check | Ampacity Check | Unfused Wire Check
|  | Make/Model | Ampacity [A] | Voltage [V] | Wire Size [mm2] |  | Make/Model |  | Ampacity [A] | Voltage [V] | Wire Size [mm2] | Make/Model | Ampacity [A] | Voltage [V] | Wire Size [mm2] | Make/Model | Location |  | Ampacity [A] | Voltage [V]
BLANK

## Accumulator
Status | BLANK
|  | Number of Accumulators |  | BLANK
|  | Maximum TS Voltage | 0 | V
|  | Nominal TS Voltage | 0 | V
|  | Total Cells | 0
Segment Data | [7 empty] | BLANK | BMS | [5 empty] | BLANK | Maintenance Plugs |  |  |  |  | BLANK | Insulating Materials | [5 empty] | BLANK | Additional Comments
Connection Order | [8 empty] | BMS Type | [5 empty] | BLANK | Connector |  |  |  |  | BLANK | Between cells and accum. container | [5 empty] | BLANK
Segment | Parallel cells | Series cells | Temp Sensors | Max Voltage [V] |  | Segment Energy [MJ] |  |  | BMS Source | [5 empty] | BLANK | Ampacity |  |  | #N/A | A | BLANK | Voltage Rating |  |  |  | #N/A | V | BLANK
[9 empty] | Make |  |  | Model |  |  |  | AIR | [5 empty] | on top of cells | [5 empty] | BLANK
1 |  |  |  | 0 |  | 0 |  | BLANK | Galvanic Isolation TS to GLV |  |  |  |  | V | BLANK | Make/Model |  |  |  |  | BLANK | Voltage Rating |  |  |  | #N/A | V | BLANK
2 |  |  |  | 0 |  | 0 |  |  | Galvanic Isolation between segments |  |  |  |  | V | BLANK | Contact Voltage Rating |  |  | #N/A | V | BLANK | separating AIR and Fuse from cells | [5 empty] | BLANK
3 |  |  |  | 0 |  | 0 |  |  | Galvanic Isolation device | [6 empty] | Max switching current |  |  | #N/A | A |  | Voltage Rating |  |  |  | #N/A | V | BLANK
4 |  |  |  | 0 |  | 0 |  |  | Gavlanic Isolation device datasheet | [6 empty] | Max continuous current |  |  | #N/A | A | BLANK
5 |  |  |  | 0 |  | 0 |  |  | Voltage Sense Leads | [6 empty] | Main Fuse
6 |  |  |  | 0 |  | 0 |  |  | Max Sense Lead Length |  |  |  |  | cm | BLANK | Main Fuse |  |  |  |  | BLANK
7 |  |  |  | 0 |  | 0 |  |  | Overcurrent Protection Device | [5 empty] | BLANK | Main fuse ampacity |  |  | #N/A | A
8 |  |  |  | 0 |  | 0 |  |  | Overcurrent Location | [5 empty] | BLANK
9 |  |  |  | 0 |  | 0 |  |  | Overcurrent Other Location
10 |  |  |  | 0 |  | 0 |  |  | Temperature Sensors
[9 empty] | Temp Sensor Location | [5 empty] | BLANK
[9 empty] | Distance to cell terminal |  |  |  |  | mm | BLANK
[9 empty] | Cells sensed per sensor |  |  |  |  | cells | BLANK
Thermal Contact material used
Thermal contact material datasheet
[9 empty] | Thermal contact material conductivity |  |  |  |  | C/W
[9 empty] | Thermal contact material thickness |  |  |  |  | mm
[9 empty] | Percent of cells sensed |  |  |  | #DIV/0! | % | ERROR
Pic of maintenance plugs | [8 empty] | Cell Connections | [8 empty] | Temp sensor location pic | [8 empty] | Fuse and AIR separation from cells pic | [5 empty] | Pic of segment insulation between cell terminals and sides of accumulator container. |  | Pic of insulation on top of segment
Maintenance Plug(s) Picture Shows | [6 empty] | BLANK |  | Cell Connections Picture Shows | [6 empty] | BLANK |  | Temp Sensor Picture Shows | [6 empty] | BLANK |  | Fuse and AIR Separation Picture Shows |  |  |  |  | BLANK | Segment Insulation Picture Shows | BLANK | Segment Insulation Picture Shows | BLANK
Unique Configuration of plugs | [6 empty] | BLANK |  | Bolted connection have positive locking | [6 empty] | BLANK |  | Temp sensor in direct contact with terminal or busbar | [6 empty] | BLANK |  | Fuse and air are separated from cells |  |  |  |  | BLANK | Insulation between cells and accumulator container | BLANK | Insulation on top of cells (air not acceptable) | BLANK
Non-conductive on un-necessary surface | [6 empty] | BLANK |  | location of parallel cell overcurrent for parallel cells | [6 empty] | BLANK |  | Distance from sensor to cell negative terminal | [6 empty] | BLANK |  | Additional Comments | [5 empty] | Additional Comments |  | Additional Comments
Additional Comments | [8 empty] | Additional Comments | [8 empty] | Additional Comments
Parallel Cell Fusing |  |  |  |  | BLANK
Source |  |  |  |  | BLANK
Make/Model
Continuous Current |  |  | #N/A | A
Continuous Current |  |  |  | A
Test Data Summary
Tests at current 1 |  |  | 0
Tests at current 2 |  |  | 0
Tests at current 3 |  |  | 0
Tests at current 4 |  |  | 0
See Fusible Link Testing Guideline on FSAEOnline.com
Testing | Current [A] | Time to blow [s]
Test 1 | #DIV/0! | #N/A
Test 2 | #DIV/0! | #N/A
Test 3 | #DIV/0! | #N/A
Test 4 | #DIV/0! | #N/A
Test 5 | #DIV/0! | #N/A
Test 6 | #DIV/0! | #N/A
Test 7 | #DIV/0! | #N/A
Test 8 | #DIV/0! | #N/A
Test 9 | #DIV/0! | #N/A
Test 10 | #DIV/0! | #N/A
Test 11 | #DIV/0! | #N/A
Test 12 | #DIV/0! | #N/A
Test 13 | #DIV/0! | #N/A
Test 14 | #DIV/0! | #N/A
Test 15 | #DIV/0! | #N/A
Test 16 | #DIV/0! | #N/A
Test 1 Data |  | Test 2 Data |  | Test 3 Data |  | Test 4 Data |  | Test 5 Data |  | Test 6 Data |  | Test 7 Data |  | Test 8 Data |  | Test 9 Data |  | Test 10 Data |  | Test 11 Data |  | Test 12 Data |  | Test 13 Data |  | Test 14 Data |  | Test 15 Data |  | Test 16 Data
Time [s] | Current [A] | Time [s] | Current [A] | Time [s] | Current [A] | Time [s] | Current [A] | Time [s] | Current [A] | Time [s] | Current [A] | Time [s] | Current [A] | Time [s] | Current [A] | Time [s] | Current [A] | Time [s] | Current [A] | Time [s] | Current [A] | Time [s] | Current [A] | Time [s] | Current [A] | Time [s] | Current [A] | Time [s] | Current [A] | Time [s] | Current [A]

## PrechargeDischarge
Status | BLANK
Precharge |  |  |  | BLANK | Discharge |  |  | BLANK
Resistor |  |  |  | BLANK | Resistor |  |  | BLANK
# parallel |  |  |  | BLANK | # parallel |  |  | BLANK
# series |  |  |  | BLANK | # series |  |  | BLANK
Resistance |  | #N/A | Ohms |  | Resistance | #N/A | Ohms
Cont power |  | #N/A | W |  | Cont power | #N/A | W
power @15 sec |  | #N/A | W |  | power @15 sec | #N/A | W | #N/A
Voltage |  | #N/A | V | #N/A | Voltage | #N/A | V | #N/A
Bus Capacitance |  |  | mF | BLANK | Peak power | #N/A | W
End of precharge |  |  |  | BLANK | Peak current | #N/A | A
time |  |  | sec |  | Discharge time (to 60V) | #DIV/0! | s
delta V |  |  | V |  | Relay |  |  | BLANK
ending ratio |  |  | % |  | Relay voltage rating | #N/A | V | #N/A
Peak power |  | #N/A | W |  | Relay current rating | #N/A | A | #N/A
Peak current |  | #N/A | A
time to 90% |  | #N/A | sec
Precharge Res Energy to 90% |  | #N/A | J
Average Power |  | #N/A | W
Relay |  |  |  | BLANK
Relay voltage rating |  | #N/A | V | #N/A
Relay current rating |  | #N/A | A | #N/A
Additional Comments

## Charging
Status | BLANK
Charger |  |  | BLANK | Additional Comments
Make |  |  | BLANK
Model |  |  | BLANK
Datasheet |  |  | BLANK
Input Voltage |  | V | BLANK
Input Current |  | A | BLANK
Output Voltage |  | V | BLANK
Output Current |  | A | BLANK
Power |  | kW | BLANK
UL/CE approval |  |  | BLANK
Input to Output isolation |  |  | BLANK
Charging Tractive System Schematic Pic |  |  |  |  | Charging Shutdown Circuit Pic
Charging Tractive System Schematic Shows |  |  |  | BLANK | Charging Shtdown Circuit Shows | BLANK
Fuse |  |  |  | BLANK | IMD control and powerstage | BLANK
Connectors |  |  |  | BLANK | Charger Estop | BLANK
Wire Gauge |  |  |  | BLANK | AIRs | BLANK
IMD |  |  |  | BLANK | Charge Connector Interlock | BLANK
AIRs |  |  |  | BLANK | Charger Control (CAN, Enable, etc) | BLANK
Additional Comments |  |  |  |  | Additional Comments

## Shutdown Circuit
Status | BLANK
IMD |  |  | BLANK | BSPD |  |  | BLANK
Make/Model |  |  | BLANK | Current Sensor Make/Model |  |  | BLANK
Setpoint |  | kΩ | BLANK | Current Sensor Datasheet |  |  | BLANK
|  |  |  | Trip Current |  | A | BLANK
|  |  |  | Sensor Output @ Trip Current |  | V | BLANK
|  |  |  | Accuracy @ Trip Current |  | A | BLANK
Shutdown Circuit Schematic | [6 empty] | BSPD System Schematic
Shutdown Circuit Schematic Shows |  |  |  |  | BLANK |  | BSPD System Schematic Shows | BLANK
GLVMS |  |  |  |  | BLANK |  | BSPD Current Sensor input open/short circuit protection | BLANK
TSMS |  |  |  |  | BLANK |  | BSPD Brake Position input open/short circuit protection | BLANK
2 side estop |  |  |  |  | BLANK |  | Shutdown circuit powerstage | BLANK
1 cockpit estop |  |  |  |  | BLANK |  | Additional Comments
brake overtravel |  |  |  |  | BLANK
inertia |  |  |  |  | BLANK
AMS |  |  |  |  | BLANK
IMD |  |  |  |  | BLANK
BSPD |  |  |  |  | BLANK
HVD Interlock |  |  |  |  | BLANK
IMD, AMS, BSPD have independent power stages |  |  |  |  | BLANK
GLV Battery |  |  |  |  | BLANK
GLV Fuse |  |  |  |  | BLANK
Wire Gauge |  |  |  |  | BLANK
Precharge Contactor coil |  |  |  |  | BLANK
Positive AIR coil |  |  |  |  | BLANK
Negative AIR coil |  |  |  |  | BLANK
Discharge contactor coil |  |  |  |  | BLANK
TSMS last switch |  |  |  |  | BLANK
GLVMS is first switch |  |  |  |  | BLANK
Uses proper electrical schematic symbols |  |  |  |  | BLANK
Labels/text are readable (zooming in is acceptable) |  |  |  |  | BLANK
Interlocks on TS connectors outside of an enclosure |  |  |  |  | BLANK
Additional Comments

## Torque Security
Status | BLANK
APPS Sensor Transfer function |  |  | BLANK | Torque Control Path Security Checks | [8 empty] | BLANK
Position | APPS1 Output [V] | APPS2 Output [V] |  | Source Device | Destination Device | Communication | Redundant | Out Of Range | Correlation | Checksum | Timeout | Other |  | Additional Comments
0% |  |  | BLANK
20% |  |  | BLANK | APPS | [8 empty] | BLANK
40% |  |  | BLANK
60% |  |  | BLANK
80% |  |  | BLANK
100% |  |  | BLANK

## Other
Status | BLANK
Motor Controller |  |  | BLANK | Motor |  | BLANK
Make |  |  | BLANK | Make |  | BLANK
Model |  |  | BLANK | Model |  | BLANK
Datasheet |  |  | BLANK | Datasheet |  | BLANK
Galvanic Isolation between TS anc control |  | V | BLANK
Energy Meter Download Connector Pic
Energy Meter Download Picture Shows |  |  |  |  | BLANK
Energy Meter Download Connector |  |  |  |  | BLANK
Additional Comments